| Title: Heat Networks Market Framework Regulations Impact Assessment IA No: DESNZ005(F)-24-CG RPC Reference No: RPC-DESNZ-4427(2) Lead department or agency: Department for Energy Security and Net Zero Other departments or agencies: N/A |  |  | # Impact Assessment (IA). Date: 22/10/2024. Stage: Final. Source of intervention:. Type of measure: Secondary Legislation. Contact for enquiries: Heatnetworks@energysecurity.gov.uk. |
| --- | --- | --- | --- |
| # Summary: Intervention and Options |  |  | # RPC Opinion: Fit for purpose; Green rated |  |  |
| Cost of Preferred (or more likely) Option |  |  |  |  |
| Total Net Present Social Value | Business Net Present Value | Net cost to business per year (2019 prices) |  | Business Impact Target Status |
| £-13.8m (2023 prices) £-10.2m (2019 prices, 2020 PV base year) | £-709.9 (2023 prices) £-541.6m (2019 prices, 2020 PV base year) | £10.8m |  |  |
| What is the problem under consideration? Why is government action or intervention necessary? Heat networks will be integral to decarbonising heat to help meet net zero targets. As heat networks have the characteristics of a local natural monopoly, consumers do not have the option to switch away from providers offering poor value for money. Currently, heat networks do not have the same rights and powers as other utilities, which must also be addressed. The government must intervene to ensure a strong regulatory framework exists that supports consumers and heat network developers and operators in the journey to net zero. Building on a 2018 study by the Competition and Markets Authority, this regulation therefore establishes the regulatory structure to strengthen consumer protections, improve service quality and standards and address the disparities with other utilities. |  |  |  |  |

What are the policy objectives of the action or intervention and the intended effects? This is an enabling policy which aims to achieve a twofold effect. The first objective is to specify Ofgem as the heat network regulator and implement consumer protection organisations into the market. This is what is explicitly legislated within the Heat Networks (Market Framework) (Great Britain) Regulations 2025 and hence is what has been included in scope of this IA. However, the intended effects of this policy go further as these initial statutory instruments build a regulatory groundwork in the market in which future powers and rules (e.g. extra rights and powers, Step In protections and technical standards) can be introduced through further statutory instruments to ensure greater consumer protection. The regulation also encourages growth of the heat network market by improving consumer and producer confidence.

What policy options have been considered, including any alternatives to regulation? There are two overarching options assessed in this IA, a continuation of existing market arrangements (Counterfactual) and establishing Ofgem as the heat network regulator alongside consumer protection organisations such as Citizens Advice. The preferred option is to establish Ofgem as the regulator for heat networks market and define the initial powers. To operate in the market, a heat network must be authorised, comply with authorisation conditions, and provide a guaranteed standard of performance. The details of these conditions are to be determined by Ofgem.

Is this measure likely to impact on international trade and investment?; Yes. Are any of these organisations in scope?; Micro Yes; Small Yes; Medium Yes; Large Yes. What is the CO2 equivalent change in greenhouse gas emissions? (Million tonnes CO2 equivalent); Traded: N/A; Non-traded: N/A. Will the policy be reviewed? It will be reviewed. If applicable, set review date: Ongoing review

I have read the Impact Assessment and I am satisfied that, given the available evidence, it represents a reasonable view of the likely costs, benefits and impact of the leading options.

| Signed by the responsible : |  | Date: | 28/11/2024 |
| --- | --- | --- | --- |

# Summary: Analysis & Evidence	Policy Option 1

Description:

FULL ECONOMIC ASSESSMENT

| Price Base Year 2023 | PV Base Year 2024 | Time Period Years 30 | Net Benefit (Present Value (PV)) (£m) |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Low: -£120.5m | High: £97.2m | Best Estimate: -£13.8m |

| COSTS (£m) | Total Transition (Constant Price) Years |  | Average Annual (excl. Transition) (Constant Price) | Total Cost (Present Value) |  |
| --- | --- | --- | --- | --- | --- |
| Low | £9.1m |  | £30.5m | £528.8m |  |
| High | £9.1m |  | £36m | £623.9m |  |
| Best Estimate | £9.1m |  | £33.4m | £578.5m |  |
| Description and scale of key monetised costs by ‘main affected groups’ Monetised costs include the costs to establish and run the regulatory body and the associated costs to business to be compliant with regulatory requirements. Over a 30-year appraisal period, including growth of the market, the central costs for Ofgem to regulate the market are £348m (discounted) for developing and managing the regulatory regime and monitoring and reporting prices. The additional costs on heat network operators to be compliant is estimated to be £122.2m (discounted). This includes the administrative cost to heat network operators arising from compliance with the regulation (e.g., the cost of applications, familiarisation and dissemination, reporting). This also includes a cost to operators of increasing maintenance expenditure to ensure adherence with guaranteed standards of performance. Consumer protection organisations and the Energy Ombudsman have cumulative costs that are estimated to be £107m (discounted). Further details on these proposals are set out in the main body of the impact assessment. Additional costs of compensation payments for outages from operators to consumers is estimated at approximately £28m for 2026 (undiscounted) subject to policy development. However, this has been excluded from the net present social value (NPSV) calculation in line with Green Book guidance as these compensation payments are economic transfers. There is a distributional impact from these compensation payments in the cost incurred by heat network operators and the benefit gained by heat network consumers. We have therefore included transfer payments in the equivalent annual net direct cost to business (EANDCB) to capture the cost incurred by operators and reflect this distributional impact. Changes from estimates provided in the heat networks regulation - consumer protection impact assessment are driven by: - Updated estimates for regulator set up and running costs, mainly increases in resource requirement for authorisation, digital and monitoring purposes - Improved understanding by organisations on the estimated costs for this policy - Refined assumptions in estimating the impact of guaranteed standards of performance and compensation - Inclusion of advice and advocacy costs for consumers in Scotland - Updated heat network operator, supplier and growth figures - Change in the scope of the IA to only include policy legislated within the Heat Networks Regulation 2025 |  |  |  |  |  |
| Other key non-monetised costs by ‘main affected groups’ There may be additional costs incurred by heat suppliers due to the need to be compliant with regulations and to address any compliance and enforcement issues raised by Ofgem. These costs have not been included as they are highly uncertain and would be avoidable through compliance with the regulatory requirements. |  |  |  |  |  |
| BENEFITS (£m) | Total Transition (Constant Price) Years |  | Average Annual (excl. Transition) (Constant Price) | Total Benefit (Present Value) |  |
| Low | £0 |  | £31.4m | £503.5m |  |
| High | £0 |  | £39.1m | £626m |  |
| Best Estimate | £0 |  | £35.2m | £564.7m |  |
| Description and scale of key monetised benefits by ‘main affected groups’ The main benefit monetised in this IA is the improvement to consumer experience due to a reduction in outages. Legislation will allow Ofgem to introduce guaranteed standards of performance, and this can include requiring heat network operators to pay compensation to customers for periods of heat outages. This possibly moves some of the cost from consumers to operators which in turn incentivises operators to reduce the frequency and duration of outages. Though this legislation allows the introduction of guaranteed standards of performance by the regulator, it does not introduce this directly. The impacts of these standards, however, are a likely result of the legislation and have therefore been captured in the analysis. There are additional benefits from this policy which have not been quantified due to a lack of appropriate metrics. Compared to the previous consultation IA, the scope of this IA has reduced to reflect the scope of the Heat Networks (Market Framework) (Great Britain) Regulations 2025 and therefore it is not suitable to include these previously quantified benefits in this current IA. |  |  |  |  |  |
| Other key non-monetised benefits by ‘main affected groups’ - Consumer protection organisations providing advice and advocacy will reduce consumer detriment and protect vulnerable customers which will provide social benefits from the protection of vulnerable customers. - Pricing policy encourages firms not to charge unfair prices due to the presence of the regulator in the market. Identifying and reducing instances of monopolistic pricing will reduce consumer detriment and deadweight welfare loss in the market. - Encouraging growth of the market as customers feel more confident to join a heat network, businesses become more confident to invest in building and expanding heat networks. - Metering and guaranteed standards of performance will have a long-term benefit of lowering operating costs. - Future benefits that are not included within this scope but are enabled by the Heat Networks Regulation 2025 such as benefits from extra rights and powers and billing improvements. - The enabling of measures for future legislation including the improvement of technical standards and decarbonisation. |  |  |  |  |  |
| Key assumptions/sensitivities/risks Discount rate (%) |  |  |  |  | 3.5 |
| The impact of uncertainties around cost and benefit assumptions have been analysed as part of the sensitivity analysis. A key area of uncertainty which has significant impact on value for money is the size of the heat network market and future market growth. The current level of regulation in this area means there is uncertainty around the size of the market, with the current estimate likely being an underestimate. There is also uncertainty around the future rate of growth of the market. Heat networks are considered vital in the delivery of net zero and multiple policies and investment programmes are in place to encourage the growth of the heat network sector. This impact assessment now includes the effect of heat network zoning in the growth of the market. However, estimating the per year growth of the market has high levels of uncertainty. There is further uncertainty in estimating future costs of regulation and how the market will respond to guaranteed standards of performance. The impacts of these areas of uncertainty are tested and discussed in the sensitivity analysis section of this impact assessment. |  |  |  |  |  |

BUSINESS ASSESSMENT (Option 1)

| Direct impact on business (Equivalent Annual) £m: |  |  | Score for Business Impact Target (qualifying provisions only) £m: |
| --- | --- | --- | --- |
| Costs: £10.8m | Benefits: 0 | Net: £10.8m |  |

Contents

Executive Summary	5

Problem under consideration	7

Rationale for intervention	7

Policy objective	8

Description of options	8

Non-Regulatory options	9

Counterfactual	9

Option 1	10

Summary of preferred option and implementation plan	11

Approach to analysis	13

Estimated benefits	14

Estimated costs	18

EANDCB	21

Cost recovery	21

Evidence sources	22

Interactions with other policy	22

Equalities assessment	23

Jobs impact	24

Small and Micro Business Assessment (SaMBA)	24

Trade implications of measure	27

Key limitations, risks and uncertainties	27

Sensitivity analysis	28

Monitoring and Evaluation	29

Annex	31

## Executive Summary

- A heat network is a distribution system of insulated pipes that takes heat from a central source and delivers it to a building or persons in that building. Heat networks are a crucial aspect of the path towards the cost-effective decarbonisation of heat and achieving net zero by 2050. In the right circumstances, they can reduce bills, support local regeneration and can be a cost-effective way of reducing carbon emissions from heating. Heat networks have the potential to provide around 20% of the UK’s heat demand in a least-cost pathway to net-zero, up from 3% today.

- Relative to non-heat network customers, heat network customers do not have the same level of consumer protections. This can mean lower levels of transparency and quality of service, instances of disproportionately high pricing, and no mandatory compensation regime for outages. Heat network customers are also unable to change supplier, giving heat network operators monopoly power which reduces incentives to provide a high-quality service. In addition, unlike other utilities, heat network developers/owners lack the same rights and powers, which can make developing and operating a heat network more burdensome.

- The Heat Network Market Framework (HNMF) aims to mitigate these issues by introducing greater consumer protections and drive forward the growth of the market by ensuring heat network developers have confidence in the market.

- A previous consultation in 2020 sought feedback on policy options for regulating heat networks and an impact assessment (IA) was published alongside this. In 2022, a final stage impact assessment containing further analysis was published with primary legislation and was introduced through parliament as part of the Energy Bill (now Energy Act 2023). A second consultation on the Heat Networks Market Framework (HNMF) was then launched to seek further feedback on consumer protections and pricing ahead of secondary legislation. The Heat Networks (Market Framework) (Great Britain) Regulations 2025 are now being implemented as secondary legislation to give Ofgem regulatory powers within the heat network framework as well as implementing Citizens Advice, Consumer Scotland and the Energy Ombudsman for consumer advocacy and dispute resolution purposes. This impact assessment is being published alongside the introduction of this secondary legislation.

- The proposed heat network regulatory arrangement is a quadripartite structure consisting of Ofgem as the core regulator, consumer advocacy bodies and the Energy Ombudsman as the independent dispute resolution body. Consumer advocacy bodies consist of Citizens Advice for England and Wales whereas Scotland’s consumer advocacy will be coordinated by Consumer Scotland. The Department of Energy Security and Net Zero (DESNZ) acknowledges that whilst there are regional differences in governing bodies, an equivalent level of service and protection will be provided for Heat Network consumers.

- This IA focuses on introducing this quadripartite structure into the heat network market alongside some first stage regulations, as set out in the Heat Networks (Market Framework) (Great Britain) Regulations 2025. These initial regulations include the obligation for heat network operators to be authorised by Ofgem. Ofgem will also take over billing regulation as well as monitoring the market. The regulation also gives Ofgem powers to introduce guaranteed standards of performance which aim to improve the quality and reliability of heat network services. These regulations serve as an important first step in introducing secondary legislation and enabling further measures to be introduced into the market. Some of these measures have already been consulted on by DESNZ and hence only require secondary legislation to be laid to implement them. However, some measures will require DESNZ and Ofgem to conduct further consultations to finalise policy before implementation.

- Where possible the impacts of the market framework regulation have been monetised. Across a 30-year appraisal period, under the central scenario, the total cost is £579m (discounted). The monetised benefit of introducing guaranteed standards of performance result in a total benefit of £565m (discounted) over the appraisal period. This leads to an NPSV of -£14m (rounded) for the regulation. The costs include the set-up and ongoing costs of the quadripartite regulatory structure (£455m), the cost to heat network operators in the form of familiarisation and compliance (£71m) and maintenance costs (£52M). Although having a negative NPSV, there are additional benefits from reduced consumer detriment, price transparency lowering operator’s prices and facilitating the growth of the market; however, it was not possible to monetise these with reasonable accuracy and therefore the benefits are likely to be higher than the monetised figure. There are also many future benefits expected from the future legislation this policy aims to enable, such as technical standards and decarbonisation, which are not included within this IA. Further detail of the analysis is explained in this impact assessment.

- The estimated costs and benefits within this IA are dependent heavily on how Ofgem decide to implement the regulatory regime, so we have used sensitivity analysis to represent this uncertainty. There are also expected to be significant future benefits which could be enabled through the HNMF, ensuring consumers are protected as the market grows, although this will depend on how the proposed regulatory powers will be used by Ofgem and what future legislation is laid. In addition, there are more consultations planned for technical standards and Step In protections that will have IAs published alongside them which will bring further consumer protection and benefits. The main cost of HNMF is introducing Ofgem as the regulator and the main benefits come from legislation that protects consumers and gives heat network operators powers. This means that whilst the majority of costs to setting up this regulation have been included in this IA, there are many more future benefits to come from future regulation in this area.

## Problem under consideration

- The heat network market currently has minimal regulation unlike other utilities such as gas and electricity. This means that currently heat network consumers do not benefit from the same levels of protection as gas and electricity consumers. Further to this, organisations involved in the development and operation of heat networks do not have the same rights and powers as their gas and electricity counterparts, despite both delivering similar and vital services.

- A 2018 market study by the Competition and Markets Authority (CMA) found that, though many heat network consumers are supplied heat at comparable consumer standards to the wider energy sector, a significant proportion experience poor service, such as 37% of heat network consumers experiencing a loss of heating in the previous 12 months compared to 24% of non-HN consumers. The report recommended that the sector should be regulated by a public-sector body which has statutory powers to set regulation, monitor compliance, and enforce against heat network operators that do not comply with the regulation. Subsequent research in the 2022 Heat Network Consumer and Operator Survey (HNCOS) has shown that though some improvements have been made to service quality, there is still a discrepancy between heat networks and non-heat networks. HNCOS also shows discrepancies around heat network pricing; with a small number of heat networks charging high prices significantly above average.

- The Department for Energy Security and Net Zero agrees with the findings of the CMA to regulate heat networks to ensure adequate protections for all heat network consumers, support market growth, and decarbonise at the required rate to meet our 2050 Net Zero target. Following the introduction of primary legislation for HNMF in the Energy Act, the government is now proposing to lay the Heat Networks (Market Framework) (Great Britain) Regulations 2025 to establish Ofgem, Citizens Advice, Consumer Scotland and the Energy Ombudsman in the heat network market. These statutory instruments are the first tranche of powers that will establish a regulatory framework for heat networks which protects consumers, improves standards, and drives forward the growth and decarbonisation of the heat networks market. Future statutory instruments and Ofgem will build upon these initial powers to generate further benefits for heat network customers, investment and decarbonisation that are not captured in this IA.

## Rationale for intervention

- Several market failures and barriers have been identified in the heat network market, which contribute to inefficiencies, drive poorer consumer outcomes and limit the deployment of heat networks to below the socially optimal level.

- Monopolistic characteristics – In the right circumstances, heat networks can offer the most cost-effective provision of heating and/or cooling. It is most efficient for one supplier to supply the market, or in this case, supply the heat to a pool of consumers. However, once connected it is often not possible or feasible for a customer to disconnect or be excluded. This could lead to instances where consumers face detriment and have little recourse to remedies, as the network is a natural monopoly. This may mean heat networks are able to provide poorer services and extract rents from consumers, above what is efficient and equitable.

- Incentives – In conjunction with the monopolistic characteristics, new heat networks are often developed by for-profit organisations without full representation of the future customers. The CMA’s market study suggested that developers could have an incentive to be myopic and try to minimise the up-front costs to the detriment of consumers; either through lowering standards or recovering additional costs through future consumer bills. Not for profit heat networks may also face incentives to provide low quality service and inefficient networks as they have the monopoly power to do so.

- Coordination failure – Heat networks monopoly power may be strengthened through the lack of coordination from customers on a network. A lack of collective pressure on the operator to improve the pricing or service quality means that the supplier can continue to exploit consumers without an incentive for improvement. This is viewed as a secondary reason for intervention as the removal of this failure would not remove the networks monopoly power and poor outcomes could still occur.

- Information Failures - Heat network customers can often face incomplete information and a lack of transparency. When a customer joins a heat network, they often are unfamiliar with the heat network’s characteristics, which can prevent them from making informed decisions. Currently in the heat network market, pricing of heat is less transparent than in other sectors, hindering the ability of consumers to assess whether the price they are charged is fair.

- Development/maintenance barriers - Organisations involved with the development and maintenance of heat networks currently have fewer rights and powers, relative to other energy utilities. This can make building, maintaining, and expanding networks more challenging and burdensome. In-part, this could contribute to poorer service standards and a lower level of heat network deployment than would be socially optimal. Though measures to address this are not included in the direct scope of this impact assessment, this legislation will enable future measures such as extra right and powers through licensing to be designed.

- Equity issues – In comparison to other utility providers, heat network consumers are not given the same level of protection. This is compounded by the fact that networks tend to serve more older consumers. This may mean heat network customers are disproportionately impacted by instances of consumer detriment, with little recourse to protection.

## Policy objective

- The statutory instruments being implemented alongside this IA have the objective of enabling the market to be regulated. The enabling of the heat network market framework gives the opportunity for these regulations and those that will come in the future to address these market failures:

• Consumer protection: Ensure heat network consumers receive adequate levels of protection by implementing consumer protections against disproportionate prices and unreliable heat supply, as well as promoting transparency of information and ensuring equitable consumer bills.

• Support growth: Accelerate heat network deployment by providing statutory rights and powers which make it cheaper and quicker to build and expand heat networks. Growth of the heat network market has been identified by the Climate Change Committee as a key factor in decarbonising heat to meet net zero targets.

## Description of options

- There are two overarching options assessed in this IA: a continuation of existing market arrangements (Option 0: Counterfactual) and establishing a heat network Regulator (Option 1 Preferred):

• Option 0: (Counterfactual): Continuation of existing market arrangements.

• Option 1: (Preferred) Establish Ofgem as the heat networks regulator and define the required rights and powers. To operate in the market, a heat network must be authorised by Ofgem and adhere to guaranteed standards of performance. Require Citizens Advice and Consumer Scotland to provide advice and information for heat network customers and the Energy Ombudsman to provide a dispute resolution service.

- Several other approaches to regulation were considered in a previous consultation stage IA, with the equivalent of option 1 being retained as the preferred option. Consultation responses found Ofgem to be the preferred regulator and that a system of authorisation and licensing (to be implemented later) would work best for the variety of businesses operating in the heat network market. For simplicity only the two options listed above are discussed in the main body of this IA. Option 1 now represents the Heat Networks (Market Framework) (Great Britain) Regulations 2025 which will be laid alongside this IA.

## Non-Regulatory options

- There are a few non-regulatory initiatives which partially address issues created by the heat networks market being unregulated. For example, the Heat Trust, which launched in November 2015, established a voluntary, industry-led consumer protection scheme for heat networks that guarantees quality of service standards for approximately 11% of heat network consumers. Separately, the Heat Networks Code of Practice (CP1), launched in 2015, defines minimum technical standards for the design and construction of heat networks. Although these are welcome initiatives, heat suppliers are under no obligation to join and/or comply.

- The international comparison of heat network regulatory frameworks commissioned by the Department for Energy Security and Net Zero identified both regulated and unregulated regimes. The report highlights Germany and Finland as examples of largely unregulated regimes but notes that in both countries the competition authorities can step in on competition issues. In addition, unlike the UK there is a large proportion of state ownership within the market which may be a leading factor for the absence of regulation. The DESNZ market study also reviewed Denmark; the market is driven by a regulatory framework to enable competition with price transparency at its core. Denmark has provided full transparency, with the government publishing prices for each heat network company on an annual basis. The report suggested that an unregulated sector may not meet the needs and expectations of UK consumers and hence requires regulators and government to intervene to protect consumers where there is little or no competitive pressure.

- When evaluating non-regulatory approaches, they were deemed not viable to achieve the policy objectives. As the requirements would not be enforceable, this approach would be unable to provide the required level of consumer protections and support to the industry. The limited number of heat network suppliers signed up to Heat Trust suggests that rules on consumer standards will need to be mandated to ensure those standards are achieved across the market. This view is supported by engagement with heat suppliers not registered with the Heat Trust. Without regulation, it would not be possible to provide heat network customers equivalent consumer protections, compared to those not on heat networks, such as domestic gas customers.

- Furthermore, the CMA’s market study recommended that government should install a statutory regime whereby there is a sector regulator. This recommendation is supported by the government and is further reinforced by responses to both the CMA’s market study, and a previous Heat Networks Market Framework consultation. Therefore, non-regulatory options have not been considered further in this IA.

## Counterfactual

- Without these enabling statutory instruments, Ofgem cannot enter the market as the regulator, and neither would the aforementioned consumer protection organisations. The full heat network market framework cannot be realised without the introduction of these organisations as future regulations cannot be made without an established regulator in the system. Therefore, without this regulation the market remains unregulated and unable to strengthen consumer protection.

- This means the counterfactual scenario is a continuation of existing arrangements where the heat network market is subject to Heat Network Metering and Billing Regulations (HNMBR). This regulation covers meter installation and billing transparency, but it has no scope to cover pricing issues, standards of performance or protection of vulnerable customers. The heat network market currently has limited self-regulation and industry standards, such as voluntary membership of Heat Trust and the industry led CP1 technical standards applying to some new builds. In the absence of future government action, it is likely these initiatives would continue and possibly grow. An indicative scenario of growth in voluntary Heat Trust membership forms the counterfactual for this IA, more details can be found in Annex A.

- A continuation and possible expansion of voluntary initiatives is likely to be insufficient to remedy consumer detriment issues or satisfy the CMA’s recommendations. As a result, the CMA could still choose to launch a market investigation and use its order making powers to remedy some of the concerns directly. Whilst this would result in some issues being addressed, it is not expected to be the most efficient approach and would not address the more systemic issues faced in the market such as the different consumer protections between heat network and gas consumers.

- Given the anticipated growth in the heat network market, if left unaddressed, there is a risk that consumer detriment could grow. In addition, heat network developers would continue to face the same issues when developing and maintaining heat networks if they continue to lack certain rights and powers due to be introduced by Ofgem. In the longer term, this could also act as a bottle neck to growth in the market, potentially limiting deployment.

## Option 1

- Under this option, Ofgem is established as the heat network regulator and is given the powers necessary to regulate the market, as set out below. The regulatory model for the heat network market is operators must apply for general authorisation. Under this option, new heat suppliers and heat network operators must apply to Ofgem to be authorised to operate in the market. Existing heat suppliers and heat network operators will be deemed authorised and required to register with Ofgem. An authorised entity will need to comply with consumer protection rules for domestic and microbusiness consumers under the HNMF. These consumer protection rules may be extended to other groups of non-domestic customers.

- This option has been selected to reflect the structure of the heat network market and reduce unnecessary administrative burdens, whilst ensuring consumer protection. Table 1 provides an overview of the key regulatory powers associated with this secondary legislation.

Table 1 – summary of key regulatory powers

| Regulatory powers | Scope | Description |
| --- | --- | --- |
| Authorisation | All heat networks in Great Britain | All heat network operators will be required to be authorised to operate in the market. |
| Pricing policy | Heat networks serving domestic or microbusiness consumers in Great Britain. (May be extended to other select groups of non-domestic customers.) | Ofgem will have powers to collect pricing data, conduct investigations into instances of disproportionately high prices, and intervene when there is evidence of systemic issues on pricing or cases of significant consumer detriment. |
| Metering and Billing | Heat networks serving domestic or microbusiness consumers in Great Britain. (May be extended to other select groups of non-domestic customers.) | Ofgem will become responsible for billing requirements and partially for metering requirements |
| Complaints handling | Domestic and microbusiness heat network customers. (May be extended to other select groups of non-domestic customers.) | Energy Ombudsman will become responsible for independent dispute resolution between heat network operators and their customers |
| Consumer advocacy | Domestic and microbusiness heat network customers. (May be extended to other select groups of non-domestic customers.) | Citizens Advice and Consumer Scotland are made responsible for consumer advocacy and advice for heat network customers |
| Meter accuracy | All heat networks in Great Britain | Office for Product Safety and Standards (OPSS) will remain responsible for the accuracy of meters used on heat networks |

- The above regulatory powers are specific to those being directly enabled by the current secondary legislation. However, having these first stage regulations brought in and Ofgem established within the market allows for future regulation. For example, technical standards, Step In protections and decarbonisation plans are only possible as a result of this regulation and hence this option extends further than just that listed in Table 1.

## Summary of preferred option and implementation plan

- The preferred option is to establish a Heat Networks Market Framework in legislation, with a heat network regulator being given powers to enforce regulatory requirements. The proposed approach is a quadripartite structure akin to the retail energy sector consisting of Ofgem as the core regulator, Citizens Advice and Consumer Scotland as the consumer advocacy body and the Energy Ombudsman as the independent dispute resolution body. We expect the four organisations to work collaboratively, to share expertise and market intelligence and to regulate the heat network market efficiently. The proposed roles and responsibilities are detailed in Table 2 below:

Table 2 – proposed governance structure of the HNMF

| Organisation | Responsibility in the HNMF |
| --- | --- |
| Ofgem | Administering the authorisation regimes. Market monitoring, compliance, and the enforcement of consumer protection rules, including price transparency and interventions. Further responsibilities are anticipated relating to future measures outside of the scope of this impact assessment. These responsibilities will be covered in future consultation stage impact assessment. |
| Citizens Advice, Consumer Scotland | Advocacy and advice for heat network customers. Administer an Extra Help Unit to support consumers in vulnerable circumstances. National awareness campaigns. Reporting systemic issues to the quadripartite group. The remit for Citizens Advice will be England and Wales. It is proposed Scottish heat network customers will receive advocacy and advice coordinated by Consumer Scotland. |
| Energy Ombudsman | Provide domestic and micro business heat network consumers with access to its independent dispute resolution service. Work with regulated entities to advise on how to reduce volumes of complaints. Reporting systemic issues to the quadripartite group. |
| Office for Product Safety and Standards | Responsible for the accuracy of meters used on heat networks. This may involve monitoring based on testing methodologies and checks against agreed accuracy standards. By performing this role, OPSS will improve the accuracy and reliability of heat meters, helping to ensure consumers are billed accurately and transparently for the heat they use. |
| Department for Energy Security and Net Zero | The Secretary of State acts as the policy sponsor working closely with Ofgem and providing the relevant powers for regulation. |

- Primary legislation has been implemented for the Heat Networks Market Framework through the Energy Act 2023. This establishes the role of Ofgem as the heat network regulator. No impacts were incurred from this primary legislation, as reflected in the primary legislation final stage impact assessment.

- The scope of secondary legislation is to introduce the above entities into the heat network market in which Ofgem will fulfil regulatory duties and monitor businesses. Heat network customers will be able to receive advice and advocacy from Citizens Advice, Consumer Scotland and the Energy Ombudsman (independent dispute resolution body). This secondary legislation will require heat networks to complete an authorisation process and comply with the conditions set out by Ofgem. Ofgem will also become responsible for monitoring prices in the market, increasing price transparency and taking over responsibility for some metering and billing regulation.

- At this stage, the Heat Networks (Market Framework) (Great Britain) Regulations 2025 only provides the first stage of regulatory powers for Ofgem and hence the full benefit of the HNMF has not been fully realised. A further public consultation is planned to seek views on further elements of secondary legislation such as minimum technical standards and carbon emissions limits. An updated impact assessment will be published alongside this to show the expected impacts of these measures. These policies will then require statutory instruments to be laid before these can be introduced. Whilst the majority of the regulatory costs are captured in this IA, the full benefits will only be realised in later stages of regulation.

- We are taking a flexible approach to regulation; this is particularly important given the nascent state of the heat network market and the growth and decarbonisation we expect to see out to 2050. Ofgem will have powers to amend conditions for authorisation. This means that as the market grows and evolves and Ofgem develops more experience of regulating the market, rules on consumer protection can be amended and supplemented to reflect market changes and increased regulatory knowledge.

- The phasing in of aspects of the HNMF will also allow for the exploration of different approaches to regulation, in consultation with key stakeholders such as industry and consumer groups. Consumer protection rules will be developed and expanded over time to allow for flexibility and ensure regulation can take into consideration the development of the market and key learnings.

## Approach to analysis

- To assess the impact of establishing a heat network regulator, a cost-benefit analysis has been undertaken. Not all costs and benefits were possible to monetise, and impacts have only been included for the measures included in this regulation. Further measures such as extra rights and powers, technical standards and others are due to be consulted on and legislated in later years, bringing further benefits to the heat network market framework. A further impact assessment is planned to be published alongside an additional consultation covering a wider scope.

- A monetised assessment has been completed for the following costs using a Standard Cost Model (SCM):

- Establishing Ofgem as the heat networks regulator and its running costs.

- Establishing consumer protection organisations and their running costs.

- Businesses complying with core elements of the regulation.

- Transfer payments incurred by heat network suppliers from the introduction of a compensation regime. As transfer payments these costs are not included in the NSPV but will be considered in the Equivalent Annual Net Direct Costs to Business (EANDCB)

- A monetised assessment has also been completed for the following benefit:

- Reduction in the number of hours consumers face outages because of the compensation regime.

- A qualitative assessment of the possible impacts of the proposed regulatory powers has also been included for the following sections below. This includes an indication of the scale of the issues the powers intend to address and discussion over where the likely cost and benefits could fall:

  - Benefits of the policy for enabling growth of the market

  - Benefits of consumer advice and advocacy

  - Benefits of price transparency

  - Benefits of this legislation enabling future legislation

- Costs have been scaled up across the appraisal period based on the growth of the heat network market. The central figure of growth in heat supplied by heat networks is calculated based on predictions of the effects of all current and planned heat network policies. Heat network figures grow so that by the end of the appraisal period the average heat supplied per network converges to the average currently provided by district heat networks. Policies such as zoning could result in district heat networks dominating the market and hence a higher average heat deployment per network. A similar trend is predicted for heat suppliers and so this average heat supplied converges to the 95th percentile of current suppliers. High and low figures are also used for the total heat supplied; more details are provided in the sensitivity analysis section.

- These costs are compared against the counterfactual scenario (Option 0). This provides an indication of the expected costs and benefits that arise from the preferred option. The impacts are considered over a 30-year appraisal period. The 30-year appraisal period has been used as Heat Networks are considered a long-living infrastructure lasting upwards of 30 years. The objective of the regulation is to facilitate a market structure that enables the decarbonisation of heat through heat networks, a 30-year appraisal period models the subsequent costs and benefits such as ongoing regulatory costs and improved standards, which are expected to be distributed through this period. By extending the period beyond the usual 10 years other Heat Network Market Impact Assessments have used, the model provides a long-term comprehensive evaluation of the impacts as well as creating alignment with the regulatory measures of other utilities. We find that all ongoing costs and benefits increase over the appraisal period due to the growth of the market. All monetised impacts are presented in 2023 prices and where specified are discounted in accordance with the HM Treasury Green Book. A 2024 base year has been used to reflect the timing of the final policy decision, ensuring the discounting adjustment is applied effectively.

## Estimated benefits

- This secondary legislation gives Ofgem the powers set out above. However, the benefits of these, and future legislative powers, will depend on how Ofgem use them. For this IA, we can only discuss the impact of the specific legislation being brought in at this stage, but it is important to note that we expect Ofgem’s actions and future legislation will result in larger benefits. We expect that these future benefits will also have minimal costs, as the main cost of implementing Ofgem is included in this IA.

Guaranteed Standard of Performance

- The Heat Networks (Market Framework) (Great Britain) Regulations 2025 grants Ofgem the power to introduce guaranteed standards of performance which incentivise heat network operators to provide a reliable and robust service to consumers. Though this regulation does not introduce these standards directly, the implementation of the standards are an intended, and very likely, result of the legislation so have been captured in the analysis. Heat Trust members are already subject to guaranteed standards of performance, and we find Heat Trust customers to have significantly lower outages compared to other heat networks. Whilst the specifics of this policy are not finalised, it is expected that firms will have to make compensation payments to consumers for outages. This is intended to transfer some of the cost of outages from the consumers to suppliers. We believe this will incentivise firms to minimise outage frequency and length and improve customer experience, bringing the market in line with the gas and electricity market. Guaranteed standards of performance may also include other requirements, such as keeping appointments and resolving meter issues. However, the benefits of these additional requirements have not been quantified within this analysis.

- The length and frequency of outages in the counterfactual ‘no compensation regime’ market has been estimated using data from the 2022 HNCOS and scaled up to the rest of the market. We have then used data from the voluntary scheme, the Heat Trust, to model the factual scenario of the market under a compensation regime. HNCOS finds customers to have an average of 40 hours of interruptions per year compared to Heat Trust networks which average only 19 hours per year. Scaled to the whole market, this results in an additional 10M hours a year of interruptions due to the poorer standards of non Heat Trust networks. There are other factors that are likely to lead to fewer outages from Heat Trust networks (eg Heat Trust memberships are only granted to networks that meet certain standards), hence the analysis assumes a 90% convergence to Heat Trust outage rates. More details on this are included within the sensitivity analysis section. This analysis only includes the effects of guaranteed standards of performance; it is important to note that, once technical standards are also introduced in later regulation, this will aid in reducing outages whilst helping firms to pay less in compensation.

- As the details of the compensation regime that will accompany guaranteed standards of performance have not yet been set out, this analysis calculates the effect based on the current standards and compensation in comparable areas. Ofgem currently sets breach of guaranteed standards of performance compensation for energy suppliers at £30 for erroneous switches and delayed refund of credit balances. Suppliers are required to pay compensation automatically to the affected customer within 10 days of the breach occurring. If they fail to make the initial payment, they will be required to make a further payment of £30. The compensation for outages per day set by the Heat Trust is £40 This Impact Assessment assumes a £40 per day compensation level as a central estimate. Whilst this may not be the exact regime that Ofgem decide to use for heat networks, these figures are used as an estimate of the value of loss of heat and the level of transfer between business and customer.

- From this analysis, it is estimated that the number of hours consumers will face an outage of heat and hot water will reduce by around 9 million annually. The value of a lost hour of heating is highly uncertain but, under our central assumption, we expect the annual benefits to come to around £19m (undiscounted) once the entire market has adopted the compensation regime and adjusted its behaviour, rising to £72m (undiscounted) by the final year of the appraisal period (2053).

Consumer benefit

- One of the key purposes of the heat network market framework is to ensure consumer protection, especially given the monopolistic nature of the market. This secondary legislation will introduce Citizens Advice and Consumer Scotland into the market providing heat network customers the ability to seek advice and receive advocacy from the relevant consumer protection organisations.

- There is often a lack of information for customers about heat networks and new customers are often unfamiliar with heat networks characteristics, resulting in customers making uninformed decisions. These consumer protection organisations will have an important role in disseminating relevant information so that customers are more informed about their rights and how their network works in order to reduce consumer detriment. It is difficult to quantify the impact of better-informed customers due to a lack of information on how much customers know already and to what extent customers will act on advice.

- The Heat Network Consumer and Operator Survey 2022 found that only 39% of heat network customers who made a complaint were satisfied or very satisfied with how it was handled, compared to 48% of non-heat network customers. The survey also found that a lack of time, information and money were barriers to customers making complaints at all. These findings show the importance of consumer protection organisations in advocating for consumers and helping inform them on best practice when making complaints.

- Citizens Advice also provides support to customers concerned that they have received inaccurate bills. As heat networks operate as monopolies, there is a risk to consumers that they will be exploited and charged incorrectly. Therefore, having an independent organisation will help customers seek advice on the accuracy of their bills and the correct action to take if an error has been made, ensuring consumer bills are equitable. Whilst Ofgem is responsible for monitoring aggregate prices in the market, Citizens Advice will protect consumers from individual bill errors, such as incorrect usage figures; this is especially important given the higher proportion of vulnerable customers on heat networks.

- In the Citizens Advice impact report (2022-23), they estimate their work, covering all household energy provision, to have delivered £16.3 million of expected income or financial gains to energy consumers who took action from their advice. However, the heat network market is much smaller than this and has many varying characteristics. For example, there are typically more vulnerable and uninformed households living on heat networks who may benefit more from this advice than the average population. This figure also covers some of the period in which the country was experiencing an energy crisis. Therefore, trying to extrapolate this figure to calculate the gain for heat network consumers would not provide a meaningful estimate.

- The regulation also sets out conditions within the authorisation regime to ensure proper debt management to protect vulnerable customers. This will include heat network operators having to follow rules before installing prepayment meters or disconnecting heat due to issues with payment. This aims to prevent exploitation of vulnerable customers and maximise heat provision to households. The conditions will also improve customer billing clarity to help better inform customers and make it easier to identify if issues have been made. All these authorisation conditions help to reduce the chance of heat network operators abusing their power and damaging consumer outcomes.

Growth of heat network market

- The heat network market framework is an enabling factor in the growth of heat networks for a variety of reasons. Having formal regulation in this monopolistic market is vital for business and consumer confidence. The protection of consumers against poor quality service, high prices and other exploitation will incentivise customers to want to connect to heat networks as the market grows. Increased confidence that households will want to connect to heat networks is a key factor in incentivising private investment into building networks. This increase in the likelihood of households connecting to a heat network improves operators expected returns on their investment and hence, their incentive to build heat networks, which will help grow the market as a result of the regulatory framework outlined in this IA. Due to a high level of uncertainty and a variety of other market reforms and subsidies in this area, it is not possible to provide a projected growth figure resulting from this secondary legislation.

- This improvement to consumer and producer confidence increases the willingness to invest within the market. An increase in investment in heat networks could provide opportunities for greater innovation into better technologies which could improve the quality, efficiency or longevity of networks. Whilst not within the scope of this regulation, future IAs for technical standards regulation will look more in depth at the effect of growth on technical development and how regulation will also aid in these improvements.

- The secondary legislation also has important implications for the realisation of heat network zoning. Increased confidence in the heat network market is vital for encouraging investment into designated zones by new and existing heat network companies.

- Growth of the heat network market is an important part of the transition to low carbon heating. The Climate Change Committee has identified that 20% of heating should come from heat networks by 2050 to ensure a cost-effective transition to net zero. The majority of buildings currently connected to heat networks are flats in which alternative heating methods such as heat pumps would be unfeasible or expensive. Zoning policy considers in more detail the relative cost of different low carbon heating technologies; more details can be found within the zoning consultation impact assessment.

- Pricing policy

- Historically, the 2017 HNCS and the CMA market study both concluded that heat networks typically offer a lower or similar consumer cost in comparison to other forms of heating. The 2017 HNCS found that heat networks were around £100 cheaper per year on median average than non-heat networks. However, both studies also found evidence of high pricing for a significant minority of the market. There is a lack of pricing data since the energy crisis, but we do not expect this to significantly change the trend of heat network pricing. This lack of data also emphasises the need for price transparency so relevant parties can monitor and understand the impact of policies and external events on prices.

- Heat network consumers are at greater risk of higher tariffs as they are not protected by the Ofgem domestic energy price cap, as operators purchase energy with commercial contracts. The importance of this has been emphasised by the recent rising wholesale energy costs, in which heat networks experienced commercial cost pressures that they had to pass on to consumers. The effect on consumers meant government had to intervene to provide support schemes to protect customers from these high prices.

- Given these unfairly high prices, the lack of price cap protection and the fact heat network customers are not able to change tariffs, the priority of pricing policy will be to allow outlier pricing to be identified and discouraged. As part of the authorisation conditions for heat networks, operators will be required to disclose information relevant to the price paid by consumers. Ofgem will be responsible for the development of what information will be disclosed, however, it is anticipated basic pricing information will need to be reported, allowing networks with similar characteristics to be compared and to identify instances of disproportionate prices.

- Transparency benefits: Ofgem’s presence is expected to impact the pricing behaviour of heat network operators, as it allows them to be compared to others in the market and introduces the potential for Ofgem to investigate them. Furthermore, greater price transparency could allow operators to evaluate their prices relative to other networks, potentially leading to network operators reviewing their prices. Customers may also become better informed about price comparisons if Ofgem publish some of this data, which would help customers challenge suppliers if they feel they are being charged unfairly. In instances of high prices, this should benefit consumers by lowering bills and making them more affordable.

- Transparency drawbacks: An unintended consequence of increased transparency is that it could potentially lead to current and future heat networks anchoring their prices on or within these implied ranges. This could lead organisations to both decrease and increase prices charged. Although this effect could be mitigated through policy design, it would still lead to a situation where prices are assessed to be fair. In addition, respondents to a previous consultation suggested they were aware of instances of disproportionately low pricing where the revenues do not cover the costs of operating the networks.

- How effective Ofgem will be at reducing these instances of disproportionate pricing is uncertain. This policy is also limited by a lack of understanding of why heat network prices may be high. It is difficult to distinguish between operators that are profiteering and those that have high cost/inefficient networks. More data is therefore required to inform Ofgem's approach to ensure insolvency risks and poor consumer outcomes are avoided.

- In addition, it is important to note that a saving to consumers will represent forgone revenue to heat network operators. Therefore, it will be vital for Ofgem to build an understanding of what is driving these disproportionate prices. Where prices are charged above the efficient market price, there is a deadweight loss within the market. As the market moves to more efficient pricing, the deadweight loss of monopoly pricing is reduced, increasing overall welfare. There is an increase in consumer surplus which is generally larger than the decrease in producer surplus.  There is also a positive distributional impact, since the change in price represents a transfer from producers to consumers, and some of the consumers will be vulnerable.

- Measuring the size of this benefit is very difficult due to a variety of factors including not knowing: accurate price information, the effects of price changes on heat demand and the marginal cost of suppliers. This lack of information means generating a figure to quantify this impact would be very unreliable. Even though we are unable to quantify this benefit, the significance of protecting consumers from unfair pricing and improving overall welfare in the market should not be overlooked.

- Future benefits

- As these statutory instruments are to enable the market framework, there are a vast number of benefits that will be realised as Ofgem start to use more of their powers and more legislation is implemented. These future benefits are only possible with the introduction of Ofgem and consumer protection bodies into the heat network market. Therefore, without this initial regulation, the benefits listed below would be unachievable for heat networks. These benefits include but are not limited to:

- Extra rights and powers: There are plans to introduce optional licenses which heat network operators will be able to apply to Ofgem for, allowing them to access extra rights and powers. However, this requires further consultation. Currently, heat networks, unlike other utilities (such as electricity, gas, and water), do not have statutory powers to carry out roadworks and other activities that are essential to the construction and maintenance of their networks. For example, utilities companies can excavate the roadway via a permit system, rather than applying for individual licenses for each individual excavation as is required of heat networks. This lack of powers prevents sector growth as it inhibits developers to build networks at scale or expand existing networks due to the extensive processes they must go through to be able to carry out an expansion or development.

- While the extra rights and powers are anticipated to have benefits for both existing and new heat networks, it is expected that these will be of the most use for the development of new networks. This shows the importance of extra rights and powers as a key enabler in the heat network zoning policy. To attract businesses to invest in zones, firms need the certainty that licenses provided will allow them to carry out necessary works at a minimal administrative burden.

- These extra rights and powers are expected to make developing and maintaining heat networks easier, which, in turn, could lead to additional costs associated with the development/maintenance of networks (for example, more frequent road disruptions). However, any additional costs would need to be balanced against the benefits of works being more efficient, less delayed, and the overarching benefits heat networks can bring. This makes the scale of the net impact difficult to estimate however there will be a significant positive impact to businesses and a long run positive impact for decarbonisation through the growth of heat networks.

- Metering: As Ofgem takes over some metering and billing regulation responsibilities, there is potential for changes to these regulations. Whilst changes are not imminently planned, there is a possibility that Ofgem will require improvements in the metering information provided to consumers, including the use of smart meters.

- Currently, consumers in unmetered open class buildings have minimal ability to monitor their heat usage and are not billed based upon the amount of heat they use. This removes the ability and incentive for customers to monitor their heat usage. Individual metering would mean consumers can be charged based upon their heat usage, incentivising consumers to reduce their heat usage and see this reflected in lower bills. It would also aid operators to identify inefficiencies within the network which, once resolved, would lower water and energy use and provide a more reliable service. Moreover, metering provides more accurate usage information, allowing consumers to make more informed decisions about their usage, reinforcing their energy saving incentives. Meters have been shown in continental Europe to reduce heat consumption of heat networks, due to improved heat flow data and behavioural changes by customers. Energy savings mean less fuel is used in generation, translating into bill savings, carbon savings, and air quality benefits. These bill savings positively impact consumers and carbon reductions have positive social impacts however the size of these will depend upon how reactive consumers are to increased information.

- Technical standards and decarbonisation: A consultation on these policies is due in 2024 and will set out the expected impact in more detail however at this point we view that it will have a considerable impact.

## Estimated costs

- Costs for the impact of the Heat Networks (Market Framework) (Great Britain) Regulations 2025 have been estimated as well as for the counterfactual scenario. These costs pertain exclusively to the cost of establishing and maintaining a quadripartite regulatory system and the cost to business of being compliant with the requirements. An overview of the costs included is below. Full details on the assumptions used can be found in Annex A – Estimated Cost Assumptions.

Heat supplier and operator costs

- Heat suppliers and operators are expected to incur costs associated with the requirements of the regulation. These are set out below:

- Familiarisation and dissemination - Reading and understanding new regulatory requirements and guidance. This familiarisation is assumed to happen at a heat supplier level with dissemination at a heat network level.

- Authorisation application – All new heat network operators in the scope of the regulation will be required to submit an authorisation application to Ofgem while existing networks at the time of regulation will be required to notify Ofgem with similar information.

- Reporting – Reporting is expected to be a minimum requirement of the regulation to gather the information necessary to monitor and regulate the market. This is expected to take place at the heat network level and is assumed to not require new or specialist IT to complete.

- Additional administrative costs – There is expected to be some additional administrative requirements related to dealing with complaints from consumers and preparing the required documentation for audits. The aggregated cost across the market has been estimated, but in practice, these costs will only be borne by organisations subject to complaints and/or audits.

- There is an additional cost on heat network suppliers to improve standards to ensure compliance with guaranteed standards of performance. We assume that some heat networks currently have poorer customer service and response times due to lower levels of maintenance on their networks. We estimate that all networks across the sector should be spending around a total of £2.6M in maintenance expenditure but poor performing networks are spending below average. Given HNCOS outage figures are 50% worse than heat trust levels, we assume a 50% increase in relevant operating expenditure by poor performing networks should bring these networks in line with those already complying with heat trust standards. As explained in the benefits section on guaranteed standards of performance, we assume a 90% convergence to heat trust standards. This results in a total additional cost of £1.3M to underspending networks in the first year.

- Heat network operators may also experience costs from the compensation regime and penalties. Heat networks must provide customers with a guaranteed standard of performance and will have to pay compensation to customers for outages on the network. Additionally, failure to provide information to Ofgem could result in penalty charges for heat networks. The size of these penalties is difficult to estimate as there is a lack of information on the number of networks that will fail to comply and the size of penalties that will be implemented. Both these costs have not been included within the NPSV as firms that comply with the regulation and standards will not be subject to these costs.

- Following the release of Heat Network Metering and Billing 2022 statistics, the numbers of heat networks and suppliers used in this analysis has fallen. Therefore, we are predicting a lower cost to business compared to previous analysis as there are less businesses that will be affected by these regulatory costs.

- These heat supplier and operator costs are likely to range significantly between supplier’s, dependent on the size of the heat network supplier and the extent of monitoring data they already collect. Smaller heat networks, such as those managed by a landlord, may not have an efficient method of collecting this data and hence will face higher costs from this process. More analysis and information on this are included within the small and micro business section of this IA.

- There may be additional costs incurred by heat suppliers due to the need to address any compliance and enforcement issues raised by Ofgem. These costs have not been included as they are highly uncertain and would be avoidable through compliance with the requirements. Furthermore, there may be further regulatory requirements placed on heat networks which will be set out by Ofgem. The impacts of any additional requirements will be considered during the policy development and future secondary legislation impact assessments.

- Regulatory costs

- The regulatory costs within this IA are set up and business-as-usual costs to Ofgem. The set-up costs will involve the creation of the regulatory framework as well as the systems to manage it, such as setting up a database and digital tool to receive and disseminate information to heat networks. It is assumed that these costs take place in the first year of the appraisal period. Ongoing costs include the costs of running the regulatory regime. These primarily include registering authorisations, monitoring the market, ensuring compliance of regulation and undertaking enforcement responsibilities.

- In comparison to previous analysis, these regulatory costs have significantly increased within this IA. As the policy is now more refined and closer to implementation stage, Ofgem was able to update the expected costs to reflect these requirements. A main driver of these higher costs is an increased resource requirement for authorisation, increased digital costs and an increase in the assumed growth rate of the market. These are even higher in the first year of the policy being implemented to ensure the successful set up of systems and processing of all heat networks for the first time.

- As the heat network market is currently mostly unregulated, there are high levels of uncertainty around the cost and resources required to implement and maintain this regulation. With these statutory instruments being the first stage of regulation, there is uncertainty around how these powers will be implemented and hence the extent of compliance burden on businesses and staff burden on Ofgem are also uncertain. This has been represented by a range of estimates for FTE requirements and costs used within sensitivity analysis.

- Ofgem have represented higher levels of uncertainty into activities such as compliance and authorisation as it is not clearly defined how Ofgem will enact powers to undertake these activities. Ofgem have made some assumptions about the structure of authorisation to generate these cost figures, such as in the first year of regulation, Ofgem will be processing registrations from existing heat networks and applications for authorisation from new networks. Subsequently, only applications for the authorisation of new networks will be received. Existing network registration should be largely automated however will still generate some admin and assistance burden.

- The legal costs that Ofgem will incur also have significant uncertainties as there isn’t a similar regulatory model to compare to and it is difficult to predict what issues may arise. These uncertainties also come from the previously mentioned issue of the full scope of the framework not yet being finalised.

- Consumer advocacy/advice costs

- The expansion of consumer advocacy and advice organisations to provide information and help customers affected by heat networks increases resource burden and costs to these entities. This secondary legislation implements Citizens Advice to provide consumer advice and advocacy for England and Wales. Scotland will also provide consumer protection coordinated by Consumer Scotland. The Energy Ombudsman covers all of Great Britain and will act as dispute resolution between consumers and heat network operators. Due to the complex and uncertain nature of consumer advocacy and advice in Scotland, the IA calculates the total cost to these entities as a cumulative figure.

- This IA is the first to include Scottish advocacy and advice costs within the analysis and hence this increases the total costs within this category. Citizens Advice are still predicting similar costs to previous analysis however the areas in which this resource is focused has changed. The Energy Ombudsman have seen increased cost predictions due to a higher reported complaints rate and increased customers on heat networks.

- Ofgem and costs to business estimates account for the implementation timeframe and anticipated growth in the market. This has been done by phasing in the costs associated with regulatory activities and therefore the associated resource. To account for the anticipated growth in the market, aspects of these costs have been scaled in line with the anticipated growth across the appraisal period. The details on this analysis can be found in Annex A – Estimated Cost Assumptions.

- Consumer Scotland are still in the process of scoping the extent of resource required to fulfil their legislative obligation. Therefore, these figures have high levels of uncertainty around them and may not fully represent what resource will be needed once the regulation comes into effect.

- Counterfactual

- The estimated counterfactual costs assume the continuation and growth of voluntary market arrangements. To estimate this, we have forecasted Heat Trust membership over a 30-year appraisal period based on the growth in membership over the last 7 years, and in the central case this leads to around 288,000 customers covered by the Heat Trust by the end of the appraisal period. Heat Trust membership fees have been applied to estimate the total running costs of the scheme. There are no set up costs included as these are sunk costs.

- There are also expected to be costs to business in the counterfactual. All the costs to business have been adjusted to reflect the current requirements of Heat Trust membership and only apply to the networks which are members of the Heat Trust. In addition, we have included the costs associated with the 4-year reporting that all networks are required to submit as part of the heat network metering and billing notifications. Please see Annex A – Estimated Cost Assumptions for more details.

- Table 3 - Overview of total option costs over the 30-year appraisal period (Discounted, £m, 2023 prices)

|  |  | Option 0: Counterfactual | Option 1: Establishing a quadripartite regulatory system |
| --- | --- | --- | --- |
| Ofgem/ Heat trust | Set up | £0 | £8 |
|  | Operating | £12 | £352 |
| Consumer advocacy organisations (Citizens Advice, Consumer Scotland) | Set up | £0 | £1 |
|  | Operating | £0 | £106 |
| Heat Network operator | Familiarisation and dissemination | £0 | £1 |
|  | Authorisation, reporting and admin (Audits, complaints) | £54 | £123 |
|  | Maintenance improvements | £0 | £52 |
| Total |  | £66 | £643 |

## EANDCB

- This IA has considered the costs and benefits that are generated to business from setting up a regulator and defining consumer protections. Costs and benefits to business can be considered direct or indirect. An impact is considered ‘direct’ if it arises directly from the implementation of the measure. The Department for Energy Security and Net Zero assesses these direct impacts using the standard methodology to calculate the annual net direct costs for business (Equivalent Annual Net Direct Costs to Business, or EANDCB).

- As Ofgem recover costs from businesses, all running costs of the regulator and consumer advocacy organisations will be passed on to business. It is also proposed that Ofgem’s set up costs be passed on to gas and electricity businesses through license fees, depending on the outcome of the cost recovery consultation. This mechanism of cost recovery is considered to be excluded from the EANDCB and hence these costs are not included within this calculation. Compensation payments are economic transfers and so are excluded from the NPSV calculation, however, they do have a distributional impact as the cost incurred by heat network operators is a benefit gained by heat network consumers. Therefore, compensation payments for outages are considered a direct business cost and are included in the EANDCB calculation. Compensation payment costs are difficult to predict as they will depend upon the size of the compensation regime that Ofgem implement and the level of compliance with standards from heat network operators. Assuming a 90% convergence to Heat Trust standards and following the current Heat Trust compensation regime, the EANDCB of the preferred option in the central case are valued at £14.7m (2023 prices, 2024 PV base year) or £10.8M (2019 prices, 2020 PV base year) (discounted) per year over the 30-year appraisal period.

## Cost recovery

- Responses to the early stage consultation stage IA highlighted concerns over the estimated regulatory costs and their financial impact if they were recovered from heat network consumers alone. Given the relatively small size of the current heat network consumer base, even relatively low costs of regulation would lead to a large consumer burden. We have worked with industry and the quadripartite group to review the cost estimates and investigate other cost recovery options. This resulted in the development of a range of alternative cost recovery options, which were consulted on between December 2021 and February 2022.

- Following the conclusion of this work, primary legislation within the Energy Act gave the regulator the power to recover the costs of heat network market regulation across gas and electricity consumers, as well as heat network consumers. Using cost estimates from this IA, this proposal reduces the average estimated annual impact per heat network consumer from £20.58 to £1.86, whilst increasing the average charge for gas and electricity consumers by around £0.24 annually. This would mean all energy consumers pay comparable amounts as a consequence of the regulation.

- The costs that are recovered from businesses are not included within the headline EANDCB, as per best practice. However, if these costs were included, the annual cost to business would be £28.5M (2019 prices, 2020 PV base year).

- The secondary legislation is more specific on these cost recovery arrangements. It gives Ofgem the power to charge fees and recover costs through authorisation, code manager license and licensing regimes.

- In addition to recovering the cost of funding the regulator, this legislation could result in additional costs passed through to consumers due to the costs to businesses. The additional costs are expected to be borne by heat network suppliers, who are assumed to pass through 100% to heat network consumers. If the costs are recovered in this way, the estimated average impact would be £4.34 per customer per year.

## Evidence sources

- Key sources of evidence used for the impact assessment:

• Heat Networks (Metering and Billing) Regulations (HNMBR) statistics: December 2022: This data has been updated since the last IA on heat network market framework. This more recent data covered around 12,000 heat networks in the UK. The assumptions derived from this source include the current structure of the UK heat network market, estimated number of heat suppliers and the current number of final customers, which have been used to assess the likely future burden on Ofgem and industry.

• CMA market study: Evidence and data from the CMA market study has been used to strengthen the evidence base, alongside setting out the CMA recommendations.

• The responses from the 2023 ‘Heat networks regulation: consumer protection’ consultation: The responses from the consultation have been used for future development of the policy and analysis of the expected impact of the HNMF.

• Heat network consumer survey 2017: This survey has been used to provide a range of consumer detriment indicators.

• Heat network consumer and operator survey 2022: This survey has been used to provide updated consumer detriment indictors and the reported outages which informed the compensation regime analysis.

• Heat Trust data: Membership data is used to inform the counterfactual scenario assumptions as well as inform some assumptions that fed into both Ofgem and business costs estimates. Outage data is also used for the compensation regime analysis.

• Ofgem, Citizens Advice, Consumer Scotland and Energy Ombudsman: The estimated cost of regulation has been informed by evidence and insights from these four organisations based on their expertise in the gas and electricity market.

A review of these data/evidence sources has confirmed they are the most appropriate sources for the analysis undertaken. Where evidence gaps have persisted, we have relied on appropriate proxy assumptions and/or evidence from the consultation. Although there are several key uncertainties and evidence gaps which have been more challenging to manage, a wide range of sensitivities have been tested for the quantified analysis supporting this IA, and the remaining evidence gaps have been flagged throughout the IA.

## Interactions with other policy

- Further Heat Network Market Framework measures- Further measures beyond the scope of this impact assessment are planned to include minimum technical standards, extra rights and powers for heat network operators, step-in rights and carbon emissions limits. These will be consulted on at a later date and an updated impact assessment will be produced alongside this. These policies will drive changes in the heat network market which have not been captured in this analysis, but these interactions will be reflected in the impact assessment associated with the consultation on these measures.

- Heat Network Zoning (HNZ) - Aims to establish zones where some types of buildings will be required to connect to a heat network, thereby increasing the growth rate of the heat network sector. This policy is currently under consultation. A future heat network zoning policy is predicated on market wide regulations provided under the HNMF. Social research carried out during policy development indicated that the lack of regulation is one of the key concerns from social housing providers and consumers. As HNZ is expected to lead to significant growth in the market, all new and expanding heat networks will be subject to the requirements of the HNMF, thus increasing the scale of regulatory activity. Previous IAs have excluded the cost of regulating additional heat networks created due to zoning to avoid double counting as the Heat Network Zoning consultation includes these costs. However, in this IA this cost has been included by reflecting zoning’s effect on the growth rate. Further to this, there may be extensions and/or additional regulations required for networks in zones; however, this will be subject to future development. This impact assessment analysis assumes a central growth rate of 5.5% based on predicted deployment of government heat network policy. Since the future market growth rate is uncertain, the analysis has been repeated for multiple growth scenarios and presented in the sensitivity analysis section.

- Heat Network (Metering and Billing) Regulations (HNMBR) – The regulations place requirements on heat networks to notify the Secretary of State of their existence, install metering devices, and bill based on consumption, if cost-effective. There is significant overlap with the HNMF, specifically on billing and transparency standards. HNMBR will be revoked with rules around metering and billing being incorporated into the market framework and Ofgem assuming responsibility; however, the practicalities will be subject to future policy development.

- Heat network investment schemes – Government schemes to encourage investment in heat networks such as the Heat Network Efficiency Scheme and Green Heat Network Fund are seeking to improve heat network standards and encourage market growth. Faster market growth was shown in the consultation to increase the net value expected from the HNMF.

- Other regulators and bodies – Ofgem will be expected to work alongside other sector regulators and bodies. This includes the members of the quadripartite regulatory structure and the Environment Agency, the Competition and Markets Authority, and the Regulator of Social Housing. Interactions between regulators will be considered during future policy development.

- Wider interactions with the energy sector – The analysis in this impact assessment assumes an increase in market growth as a direct result of the regulation, as well as from other heat network policies. Growth of the heat network market over time is expected to drive reductions in demand for high carbon individual heating systems such as gas boilers. Low carbon heat networks are expected to form an important part of the decarbonisation of heat, alongside other low carbon heating technologies.

## Equalities assessment

- An equality impact assessment of the policy has been carried out. Heat network consumer protection will directly affect domestic consumers who are already on a communal heat network and future domestic customers of heat networks. The number of customers on heat networks is set to increase significantly following the implementation of heat network zoning proposals which include requirements for new buildings in designated zones to connect to heat networks. The evidence for the equality assessment has been based on the current population who are on heat networks. For the purposes of this assessment, we assume that new customers will be like existing customers on heat networks and growth of the market will not change the protected characteristics of domestic heat network customers.

- This assessment has identified that people who are 65 years of age (and older), people from ethnic minority backgrounds and people with disabilities are more likely to be connected to heat networks than the general population, using the most recent evidence. We have not found such likelihood for any other protected characteristics based on the available evidence.

- We assume that groups with the protected characteristics of gender reassignment, marriage/civil partnerships, religion or belief, and sexual orientation are unlikely to be disproportionately impacted by the consumer protection proposals compared to energy customers who do not share those characteristics. However, we have not been able to identify any evidence that would confirm or refute this assumption.

- This regulation aims to alleviate consumer detriment issues, which have been outlined throughout this IA. All heat network consumers will benefit from the improved protections including those with protected characteristics. This support will be delivered through the regulatory structure, which will be made up of Citizens Advice, Consumer Scotland, Ofgem, and the Energy Ombudsman. The differing bodies will allow for a point of contact for those who are vulnerable and experiencing issues with heat networks. The regulatory structure will be required to record the issues of those who are vulnerable and address it through bodies such as the Energy Ombudsman.

## Jobs impact

- The HNMF will directly support jobs within the future regulatory structure, providing jobs with Ofgem, Citizens Advice, Consumer Scotland and the Energy Ombudsman. In total, there are estimated to be an average of 252 full time equivalents (FTE) employed by these organisations annually over a 30-year appraisal period. There will also be jobs supported by any external consultants contracted by Ofgem, such as for auditing heat networks. In addition, there will be jobs supported from heat suppliers to process the requirements of the regulation, with the equivalent of 313 FTE jobs expected in the first year of the regulation and an average of 144 FTE jobs in the following years of the 30-year appraisal period.

- There are also expected to be indirect jobs supported by the development of heat networks. In addition, future requirements such as for billing and minimum technical standards could support more jobs in billing and technical organisations.

- In terms of where these jobs will be located, for the regulatory role this will be dependent on where Ofgem, Citizens Advice, Consumer Scotland and the Energy Ombudsman base their operations, which hasn’t been specified at this stage. The regional distribution of jobs supported within the heat network industry are likely to follow a similar distribution to the location of heat networks, which are currently spread across the UK but concentrated in areas with high heat density.

## Small and Micro Business Assessment (SaMBA)

- The HNMF will impact two types of small and micro businesses (SMBs):

• Firstly, micro businesses connected to heat networks will benefit from the regulation set out above and consumer protections will extend to both domestic and micro business consumers. Approximately 6% of heat network customers are non-domestic, but data is not available to accurately determine the proportion of these which are small or micro businesses. No significant additional costs are expected to be placed on businesses who are heat network customers due to this regulation. Micro business heat network customers will also benefit from consumer protections.

• Secondly any business, including small or micro businesses, involved with the development, operation, management, or supply of heat through a heat network, will be expected to comply with the relevant regulatory requirements.

- This section will focus on the second category of SMBs affected, as this is where a potential negative impact is expected. Positive impacts on micro businesses through consumer protections will take the form of the benefits set out earlier in the impact assessment.

- The make-up of the heat networks market is varied and there is uncertainty around the exact scale and make-up of the sector. The most recent available version of data collected through HNMBR is the most comprehensive dataset available at the time this analysis was conducted but is not a complete register of all heat networks. HNMBR data shows there to be approximately 12,000 heat networks that are in scope of regulation, around 9,000 of these are communal networks (serving one building) and around 3,000 are district heat networks (serving multiple buildings). In total there are around 2,000 suppliers. The number of heat networks and customers per supplier is unevenly distributed (as shown in figure 1).

Figure 1 – Total customers per heat network supplier

- Most heat networks in the Heat Network Metering and Billing Regulations (HNMBR) data have relatively few customers, with 76% of heat network suppliers supplying fewer than 100 consumers, and with 90% owning fewer than ten heat networks. However, this does not necessarily mean these heat suppliers are small and micro businesses as they may manage a heat network alongside other business functions. For example, a large shopping centre may employ many people but have few registered heat customers. The data collected through the HNMBR does not cover the size of heat network operators, and therefore it is not possible to be exact in this estimation.

- Analysis from the 2022 Heat Network Consumer Operator Survey (HNCOS) showed 19% of operators employed fewer than 10 employees suggesting they are a micro business and 20% employed between 10 and 49 employees suggesting they are a small business. This shows the proportion of operators, but not the proportion of heat networks or the proportion of heat demand operated by SMEs. Further analysis showed that 11% of these operators with fewer than 49 employees identified were local authorities or other government/public bodies. This suggests that at least some of the suspected SMEs identified in the survey were not SMEs. A further 46% of the suspected SMEs identified were operated by housing associations, facility management companies, energy service companies (ESCOs) or charities/NGOs. These types of entities may have had a heat network workforce below 49 employees but with a larger overall workforce. This suggests that the true proportion of small and micro heat network operators may be smaller than the figures suggested by survey data.

- The main cost placed on businesses through this regulation are:

Staff resource required in complying with regulatory requirements - Staff resource costs may have a disproportionate impact on small and micro businesses such as networks managed by landlords. A smaller workforce may mean that networks are less efficient at collecting data as they have less resources allocated to this task. For example, quarterly or annual reporting of information to Ofgem may be a greater burden relative to available resource for a heat supplier with less than 10 employees compared to a heat supplier with over 50 employees. This is most prominent for landlords where they may have the burden of carrying out multiple network activities resulting in greater demand for staff resource to ensure the quality of data collected meets the regulatory requirements, hence increasing costs disproportionately compared to larger heat suppliers who already have allocated resource for this task. This is expected to be offset somewhat as small and micro businesses are likely to operate a smaller number of heat networks and therefore have a relatively smaller resource burden from compliance. Ofgem are also considering varying obligations for different sized and structured networks thus reducing the increased demand for staff resource.

Compensation payments to be paid to customers for disruptions to heat supply- Compensation payments are expected to be paid on a per customer basis meaning the cost of outage compensation will scale depending on the number of customers a heat supplier has. This reduces the risk of disproportionate costs to small and micro businesses. The impact on landlords will be dependent on the number customers on the heat networks they manage.

- It is not appropriate to fully exempt small and micro businesses from the issues the HNMF aims to overcome, given customers on these networks make up a large proportion of the known consumer base. A full exemption would result in a large portion of these consumers not receiving the benefits of the regulation. A threshold was considered during the first consultation, but BEIS (now the Department for Energy Security and Net Zero) received clear feedback that this was not preferable. However, DESNZ has considered the impact on SMBs from the policy in the following ways:

  - Optional licensing- There are future plans for authorisation with optional licensing. This only requires organisations that desire extra rights and powers to obtain a licence, reducing the regulation burden on smaller entities.

  - Spreading the cost of regulation- The cost of regulation is going to be spread across heat network, gas, and electricity bills, significantly reducing the financial burden on small and micro businesses.

  - Variable fees– Ofgem are researching and will potentially consult on charging variable fees to suppliers based on the size of the heat network, in which smaller networks would have a lower fee burden. However, this is subject to internal decision and feasibility at this stage.

  - Outcomes and principles-based regulation- Small networks will be able to comply with regulation in proportionate and cost-effective ways, providing outcomes for consumers are met. Ofgem are considering ways for obligations to potentially vary between different sized heat networks or factors such as operator/supplier organisation type and cost structure in order to reduce burden on small and micro businesses. Where possible, small networks will be able to continue existing established practices that already achieve minimum standards.

  - Templates and guidance- Particularly in the early years of regulation, we want to ensure that entities in the sector not familiar with complying with consumer standards and procedures have access to guidance and best practice. We are exploring the issuing of guidance on areas such as pricing and market-led step-in, and templates for establishing billing regimes, complaints handling processes, and heat supply contracts.

  - Phasing in of regulation- Consumer protection rules will be phased in to help the sector gradually adjust to regulatory requirements.

- There may be some additional impacts on SMBs by the regulations, such as design consultants or metering and billing companies who often work with or for heat networks. For example, the transparency measures introduced by the regulation may provide more trade for metering and billing companies with heat networks. These impacts have not been assessed as they are expected to be indirect and are uncertain at this stage.

## Trade implications of measure

- The proposed regulatory powers may require installation of specialist Heat Network equipment (e.g. Heat Meters) that are not manufactured or available in the United Kingdom. This could result in an increase in the trade and investment of these components to develop supply chains needed to comply with regulations. However, we do not expect this to have a significant impact on trade. Regulation such as guaranteed standards of performance may also have trade implications for certain equipment but this has not been valued. The presence of a regulator and requirements placed on heat suppliers could also lead to an impact on investment. These are discussed below:

• All UK heat network operators will be required to be authorised to comply with the regulation and this requirement will not differ between domestic and foreign businesses. This will require current and future heat suppliers to be aware of this requirement and make the necessary notification/application. However, this is not expected to be overly burdensome and therefore the impact is not expected to be significant. Ofgem will provide greater clarity and insight into the market to help ease this process.

• Heat networks currently provide around 3% of UK heat demand; this could increase to around 20% in line with a cost-effective decarbonisation pathway. The regulatory framework is expected to be a key enabler of this growth by providing the necessary consumer protection, greater confidence in the industry, and extra rights and powers. This is expected to have a positive impact on market growth and therefore investment. Market intelligence suggests that some European firms and investors have expressed interest in the UK market once it is suitably regulated.

- When considering the impact on competition and monopolies, the HNMF is not expected to establish a small number of suppliers or hinder competition within the industry. Regulation could have an indirect impact on future market structure as there may be some consolidation as the market develops and heat suppliers are required to adhere to the regulation. Zoning policy may also have a similar effect on market consolidation, and this will be reflected within zoning impact assessments. This impact has not been quantified at this stage.

- Overall, the net impact of the HNMF on trade and investment is expected to be positive. However, it has not been possible to attribute investment or trade impact directly to the HNMF as it is part of a wider enabling package of policy and market support under the Heat Networks Transformation Programme. In practice, the impact will depend on how the regulatory powers are used and the response from the industry. The Department for Energy Security and Net Zero’s understanding of this impact is expected to improve through monitoring and evaluation once Ofgem is established in the heat network market. Future elements proposed to be part of the market framework, but not within scope of this impact assessment, such as minimum technical standards, may have trade impacts. These will be covered in a future impact assessment when these policies are consulted on.

## Key limitations, risks and uncertainties

- The analysis presented in the IA provides an indicative cost and benefit estimate for enabling the regulation of the heat network market, cost to business, and a sense of potential future impacts of the regulatory powers. However, there are several key uncertainties which should be considered alongside this:

• Size and future growth of the heat network market - These estimates use inputs from the Heat Network (Metering and Billing) Regulations (HNMBR) dataset, which contains data from network level notifications. Since this data was not collected for these purposes, several assumptions have been made to derive the number of heat suppliers, networks, and customers in scope. Despite these statistics being updated in December 2023, there are still issues with this dataset. There is also a risk that a large number of small heat networks exist which have not been captured in the data set. Furthermore, there is significant uncertainty around forecasting the future growth of the market over a 30-year appraisal period. To show the impact of this in the appraisal, multiple growth scenarios have been modelled in the sensitivity analysis section.

• Estimated compliance and enforcement cases – Linked to the points above, there is currently insufficient information to robustly estimate the future regulatory case load for the regulated heat network market. Therefore, we have used the gas and electricity market as a proxy. In practice, the case load could vary significantly depending on how regulation is implemented and the response from the market. This is mitigated partially through the development of scenarios; however, significant uncertainty remains.

• Market composition – In addition to the size of the market, it is uncertain how the structure of the market may change over time. As the heat network market grows, it is possible that there could be consolidation as the market matures. This market consolidation is also likely due to zoning policy and its intended effect on the market. This could mean that although the heat network market may grow in terms of customers, the number of entities in the market may contract, which could lead to regulatory efficiencies. However, larger heat suppliers can also add to the size and complexity of cases and therefore the net impact is uncertain.

• Non-monetised impacts of regulatory powers: Though costs have been estimated in monetary terms where possible, there are still multiple areas which are non-monetised due to insufficient data, such as the full benefit of pricing regulation and consumer protection. These costs and benefits have been explained but not quantified so do not appear in the NPSV. Future impact assessments will seek to quantify more costs and benefits.

• Cost recovery – Several simplifying assumptions have been made to provide indicative customer level cost impacts. The estimate represents the average annual cost per consumer over a 30-year appraisal period. In practice, costs may not be recovered evenly across all consumers.

## Sensitivity analysis

- This analysis explores the sensitivity of monetised outputs to variations in key inputs. Scenario building and key input variation test the impact of varying assumptions in the CBA analysis on the NPSV estimate. We have tested the sensitivity of the NPSV to market growth, standards of performance, and resource requirement for Ofgem, other organisations and business reporting.

- Market Growth - The heat network market growth rate is expected to be positive and continue to be so over the appraisal period. However there is significant uncertainty around the precise value, particularly across time. Throughout the IA, we have assumed a central estimate of 5.5% annual growth in heat supplied and customer growth, based on preliminary deployment predictions of all current and planned heat network policies. However, given these policies are still being developed and deployed, this is a highly uncertain estimate. We have then tested a low growth scenario (4.8%) and a high growth scenario (6.1%, based on the government’s current ambition for 2050)

- Growth rates have increased compared to the previous consultation published on the heat network market framework as this now includes the effects that zoning will have on the growth of the market. Therefore, the central growth figure includes the expected impacts of all heat network government policy and funded investment schemes (eg Green Heat Network Fund, Heat Networks Investment Project).

- The headline growth figure is calculated based on the growth of the heat delivered by heat networks and hence is also used as the growth rate for the number of customers as we don’t expect the average heat usage per customer to change significantly. Heat network figures grow so that by the end of the appraisal period the average heat supplied per network converges to the average currently provided by district heat networks. Policies such as zoning could result in district heat networks increasing as a share of the market and hence a higher average heat deployment per network. A similar trend is predicted for heat suppliers and so average heat supplied converges to the 95th percentile of current suppliers. The high and low figures used for the total heat supplied are used to calculate low and high figures for heat network and supplier growth rates so that the above assumptions still hold.

- Guaranteed Standards of Performance – We expect these standards to encourage and incentivise heat network operators to reduce heat outages and improve the overall service quality provided on the network. Heat Trust has implemented standards of performance and a compensation regime and these networks experience a substantially lower frequency and duration of outages compared to survey data from other heat networks. We have modelled the effect of these standards by assuming that all heat networks outages will reduce towards the Heat Trust level from the current level measured by HNCOS (2022). The central scenario uses a 90% adjustment, implying future heat networks reduce outages 90% of the way towards Heat Trust levels following the implementation of these standards. In our worst-case scenario we reduced future outages 80% of the way towards Heat Trust levels and in our best-case scenario we assumed 100% towards Heat Trust levels.

- Resource requirements - There is still some uncertainty around the resource requirements involved in carrying out the regulatory function of the HNMF, and for heat network operators to comply with the regulation. Organisations provided estimates for high, central and low costs to represent this uncertainty.

- Scenario building - A scenario with more optimistic market conditions would test the impact of tilting assumptions towards producing high benefits and low costs (a greater NPSV), and with less optimistic market conditions tilting assumptions towards producing low benefits and high costs (a smaller NPSV). An assumption is optimistic when it produces a higher benefit or lower cost than its central estimate.

- Combining the three growth and three optimism scenarios, we can test degrees of optimism in wider market conditions within low, central, and high growth scenarios. Table 12 shows the nine NPSV’s that result from this. The effect of growth has a larger impact on the costs compared to benefits and hence the worst-case scenario occurs on the low benefit, high cost, high growth scenario. Whilst the less optimistic conditions result in a negative NPSV, these regulations’ objective is only to enable the market framework and hence there are many additional policies planned for the next few years that will generate greater benefits.

Table 4 – Estimated NPSVs under a range of market growth and wider market conditions scenarios

| NPSV | Optimism conditions |  |  |  |
| --- | --- | --- | --- | --- |
| Growth |  | Low benefit, high cost | Central | High benefit, low cost |
|  | Low | -£128m | -£134.2m | £64m |
|  | Central | -£120.5m | -£13.8m | £97.2m |
|  | High | -£112.9m | £6.3m | £129.8m |

Monitoring and Evaluation

- To ensure an ongoing view of market and individual heat network compliance with authorisation conditions, Ofgem will put in place a monitoring programme. Information will be gathered to gain an ongoing understanding of customer experiences and the level of compliance with regulation. This programme will allow for ongoing assessment of how regulation is impacting the market and where issues are emerging. This will run alongside any technical monitoring covered in future technical standards regulation undertaken by the Code Manager.

- An on-going reporting and intelligence gathering process is proposed which will include regular, mandatory reporting by heat networks across a range of metrics. Data reporting by heat networks to Ofgem will be mandatory, underpinned by legislation and associated authorisation conditions. This data will be complemented by regularly reported intelligence from stakeholders including Citizen's Advice, Extra Help Unit, Ombudsman and Consumer Scotland in line with the regulatory framework and more widely through charity groups and local organisations, together with other intelligence.

- We note it might not be applicable or proportionate for some segments of the market to report against all the suggested metrics so we will consider this to determine if monitoring metrics should vary. Some customer protection metrics will not be applicable for heat networks serving non-domestic customers. Information about network type, provided to the regulator at the point of authorisation or registration, will help inform this. Alongside the wider monitoring and compliance regime, financial monitoring will be vital in identifying early issues and risks of heat network failure, but it needs to be proportionate.  Where a network is riskier and/or there is a high impact if they were to fail, it may be proportionate to request further information.

- Feedback was sought in the consultation on the current plans for monitoring including the proposed monitoring metrics below:

- General - type of network, type (domestic/non-domestic), number of customers.

- Metering (total numbers, type including numbers of prepayment meters, installation – ability to install smart meters assessment)

- Financials – capital, debt, investment (+ future plans), trading and hedging. Continuity plan.

- Billing (payment method, frequency)

- Pricing and tariffs (tariff structure, average price, reliability – alongside wider technical reporting to the Code Manager)

- Customer protection and service – number of vulnerable customers and recorded on Priority Services Register, number of customers in payment difficulty, number of complaints, the number of complaints referred to the Ombudsman,

- Interruptions – frequency, length, Guaranteed Standards of Performance payments made

- Data will be required to be reported at each individual authorised level. General information will be required at the point of authorisation, when there is a material change and confirmed annually. We expect other metrics will be reported either quarterly or annually, through the digital platform and will undertake regular assessments of the information provided. A schedule of the frequency of ongoing information provision and guidance on the expected monitoring metrics and definitions will be provided. We will review our approach to monitoring pricing, including the reporting metrics, following our upcoming pricing consultation.

- There will also be proactive ad hoc requests for information from segments of the market or from individual heat networks as part of compliance action where we consider there is a priority area that needs addressing or where we perceive there to be a risk of poor customer outcomes. More generally we expect heat networks to be open in their dealings with the regulator and self-report any potential areas of non-compliance and actions they will take to address them.

- Over time, we are considering implementing approaches to help ensure there is an effective monitoring regime where heat networks provide accurate and timely data in line with requirements, including the issuing of penalties for late/inaccurate reporting.

- Monitoring will serve operational purposes in ensuring compliance with regulation but will also provide an ongoing view of the impact of regulation in the market against the policy aims. Monitoring enables action to be taken where policy aims are not being met and allows for thorough evaluation. The policy can also be evaluated within Ofgem's standard publications eg regulatory impact reports. The nature of the policy means Ofgem will have collected a large amount of data on heat networks which will help them in answering questions such as:

• To what extent have the regulations achieved the aims?

• To what extent are the impacts additional to what would have happened without them?

• How effective was the delivery of the amendments?

• To what extent is this offering value for money?

• Are there any lessons going forward for how heat networks are regulated?

• How has the design of the regulation influenced the impacts that were achieved?

• How has the policy been delivered, what worked/ didn't work?

• What have the costs and benefits of the regulation been?

• How has the regulation impacted consumers and the heat network industry?

## Annex

A – Estimated Cost Assumptions

This annex outlines the assumptions behind the estimated regulator costs, cost to business and the counterfactual.

Regulation Cost Estimate

Below is an overview of the approach taken to estimate regulatory costs. This approach is consistent with the approach taken in the recent consultation, where full details can be found in the technical annex of the consultation.

A standard cost model approach has been used to estimate the regulatory costs of the preferred option. An overview of the methodology used is as follows:

A) Current market - The current size of the heat network market in scope of regulation was estimated using the HNMBR notification data. There is uncertainty in this data about the current size of the market, with a risk that a significant number of small networks are not captured. The impact of the size of the market has been tested through analysis of the growth rate, explained in section C.

B) Identify regulatory activities and estimate the resource - The members of the quadripartite group used the outputs on market size from step A to estimate a range of required resource, which have been used as the key inputs to this cost modelling. This includes the number of full-time equivalent (FTE) staff by seniority, consultancy, and overhead costs. These estimates were then further refined following scrutiny from the Department for Energy Security and Net Zero and key stakeholders including industry and other regulatory bodies. The ONS statistics use average Civil Service pay to calculate the cost of the required FTE. These costs were then inflated by 21.8% to account for non-wage costs, in line with RPC guidance.

C) Profile and scale resource requirements – To account for the anticipated growth, illustrative annual growth rates have been constructed based on the available evidence, detailed in Table 5. Sensitivity testing has shown that the future growth rate of the market plays a much larger role in the conclusions of the analysis than the estimate for the current size of the market.

- Table 5 – Estimated heat network deployment under different growth scenarios

| - Heat network deployment | - TWh in 2050 | - Annual growth rate% |
| --- | --- | --- |
| - Low | - 70 | - 6.1% |
| - Central | - 60 | - 5.5% |
| - High | - 50 | - 4.8% |

Results

The analysis suggests that set-up costs are expected to be £9.1m (undiscounted) in the first year. Of this, £7.6m are Ofgem set-up costs and £1.5m are consumer advocacy body costs. Figure 2 shows the annual operating costs of heat network regulation by the quadripartite regime, where the average would be between £24m and £30m, with a central estimate of £27m (all undiscounted). For the central estimate, Ofgem costs make up £21m of the average annual estimate (undiscounted). The sensitivity scenarios used are low growth with low cost assumptions, central growth with central cost assumptions, and high growth with high cost assumptions.

Figure 2 – quadripartite cost over a 30-year appraisal period

Costs to business estimates

The costs to business with the methodology below calculating the following:

A) Identify requirement: The expected requirements to be placed on heat network organisations was based on consultation with Ofgem, response to the consultation, and the current policy ambition.

B) Estimate the frequency and resource – The number of hours required by businesses to comply with various areas of the regulation was estimated through consultation with Ofgem and a comparison with the Heat Trust requirements. The frequency of requirements is based on current policy ambition.

C) Costing - To estimate the implied costs of undertaking these activities, these tasks are assumed to be carried out by an estimate manager and an internal business consultant split 75:25 respectively. Hourly wage costs have been informed by ONS statistics.

D) Aggregate costs - The costs to business were summed across all activities to provide an aggregated costs for the whole market per year.

Table 6 – Cost to business assumption overview (central case)

| Assumption | Level | Duration (hour) | Rate (£/hour) | Cost (£) | Frequency |
| --- | --- | --- | --- | --- | --- |
| Familiarisation and dissemination | Heat supplier | 9.5 | 27 | 257 | One-off |
| Authorisation application | Heat network | 3 | 27 | 81 | One-off |
| Audits | Heat supplier | 4 | 27 | 108 | Annual |
| Complaints | Heat supplier | 0.5 | 27 | 14 | Annual |
| Annual reporting – set up | Heat network | 15 | 27 | 406 | One-off |
| Annual reporting - ongoing | Heat network | 7.5 | 27 | 203 | Annual |

Counterfactual Cost Estimates

We have assumed that for the counterfactual scenario, the only form of regulation in the heat network market is the voluntary Heat Trust. The implied cost of Heat Trust membership over the appraisal period was estimated using the following methodology:

- Estimate future growth – The reported growth in Heat Trust membership was used to derive the observed trend in growth between 2016 to 2021. This trend was then applied to the current Heat Trust membership to produce an illustrative growth scenario over a 30-year appraisal period.

- Estimated regulatory costs – The current Heat Trust membership costs were then used to estimate the counterfactual regulatory costs, as summarised in Table 7.

Table 7 – Costs under the counterfactual

| Area | Level | Cost | Frequency |
| --- | --- | --- | --- |
| Connection cost | Per Heat Trust customer | £3.75 | Annually |
| Joining fee | Per Heat Trust customer | £100 | One-off |

- Costs to business were then calculated in a similar way to the factual case. Though – apart from HNMBR annual reporting – costs for a given area of regulation were multiplied by the projected number of heat networks/suppliers that will join the Heat Trust (as opposed to all heat networks). These costs are summarised in Table 8 below.

Table 8 – Costs to business under the counterfactual

| Area | Level | Cost (£) | Frequency |
| --- | --- | --- | --- |
| Annual Reporting | Per Heat Trust heat network | 203 | 6 months |
| HNMBR Annual Reporting | Heat network (all) | 406 | Every four years |
| Annual Reporting Set-Up | Per Heat Trust heat network | 203 | One-off |
| Complaints | 2% of all heat network customers | 14 | Annually |
| Authorisation | Per Heat Trust supplier | 81 | One-off |
| Familiarisation and dissemination | Per Heat Trust supplier | 257 | One-off |

Include economic transfers. Only cost to business as business benefits have not been monetised or will be included in future IAs

Includes economic transfers as explained in EANDCB section. 2019 prices, 2020 PV base year.

Includes economic transfers as explained in EANDCB section. 2019 prices, 2020 PV base year.

Independent Assessment: The UK’s Heat and Building Strategy, Climate Change Committee, Table 2.1, pp. 22, https://www.theccc.org.uk/wp-content/uploads/2022/03/CCC-Independent-Assessment-The-UKs-Heat-and-Buildings-Strategy.pdf (March, 2022)

https://www.gov.uk/government/publications/net-zero-strategy

With the exception Heat Network (Metering and Billing) Regulations 2020 <https://www.gov.uk/guidance/heat-networks>

CMA Market Study on Heat Networks <https://www.gov.uk/cma-cases/heat-networks-market-study>

https://www.gov.uk/government/publications/heat-network-consumer-and-operator-survey-2022

Heat Network Consumer and Operator Survey 2022 https://www.gov.uk/government/publications/heat-network-consumer-and-operator-survey-2022

Heat Trust < https://www.heattrust.org/ >

Developed by the Chartered Institution of Building Services Engineers (CIBSE) and the Association for Decentralised Energy (ADE) < https://www.cibse.org/knowledge/knowledge-items/detail?id=a0q3Y00000IMrmGQAT >

The International Review of Heat Network Market Frameworks by BEIS < https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/863937/international-review-of-heat-network-market-frameworks.pdf >

The Heat Networks Market Framework Consultation <https://www.gov.uk/government/consultations/heat-networks-building-a-market-framework>

https://bills.parliament.uk/publications/47261/documents/2122

Green book guidance on how to assess and evaluate policy https://www.gov.uk/government/publications/the-green-book-appraisal-and-evaluation-in-central-governent

https://www.ofgem.gov.uk/publications/three-suppliers-pay-total-ps8-million-relation-guaranteed-standards-performance-final-billing-compensation-failures

https://heattrust.org/the-scheme-rules

https://www.citizensadvice.org.uk/about-us/information/all-our-impact/

Independent Assessment: The UK’s Heat and Building Strategy, Climate Change Committee, Table 2.1, pp. 22, https://www.theccc.org.uk/wp-content/uploads/2022/03/CCC-Independent-Assessment-The-UKs-Heat-and-Buildings-Strategy.pdf (March, 2022)

https://www.gov.uk/government/consultations/proposals-for-heat-network-zoning-2023

Effects of individual metering and charging of heating and domestic hot water on energy consumption of buildings in temperate climates. J. Terés-Zubiaga (a)*, E. Pérez-Iribarren (a), I. González-Pino (a), J.M. Sala

Based on the annual reports from the Heat Trust < https://heattrust.org/annual-reports-v2

https://www.ofgem.gov.uk/publications/consultation-licence-fee-cost-recovery-principles-january-2024

https://www.gov.uk/government/consultations/recovering-the-costs-of-heat-networks-regulation

Cost Recovery Consultation on Heat Networks Regulation <https://www.gov.uk/government/consultations/recovering-the-costs-of-heat-networks-regulation >

One off set up cost recovery not included in this calculation.

https://www.gov.uk/government/statistics/heat-networks-registered-under-the-heat-network-metering-and-billing-regulations-statistics-december-2022

https://www.gov.uk/government/consultations/heat-networks-regulation-consumer-protection

Heat Network Consumer Survey (HNCS) <https://www.gov.uk/government/publications/heat-networks-consumer-survey-consumer-experiences-on-heat-networks-and-other-heating-systems>

https://www.gov.uk/government/publications/heat-network-consumer-and-operator-survey-2022

FTE equivalent has been calculated based on the estimated time required to undertake the Regulatory activities based on the assumption that full time employees work 261 day a year and 7.5 hours a day.

https://www.gov.uk/government/statistics/heat-networks-registered-under-the-heat-network-metering-and-billing-regulations-statistics-december-2022

Micro business is defined as having up to 10 employees, small business has up to 49 employees. According to Companies House: < https://www.gov.uk/annual-accounts/microentities-small-and-dormant-companies

https://www.gov.uk/government/publications/heat-network-consumer-and-operator-survey-2022

Climate Change Committee – The UK’s Heat and Buildings Strategy March 2022

https://www.gov.uk/government/publications/net-zero-strategy